Parameter Sources and CSV Provenance

Optimal Stopping Formulation for Preemptive TEVAR After Type B Dissection

# Evidence Status

Literature supplies clinical anchors, variable definitions, phase definitions, expected directions of effect, and public-data pathways. It does not supply every ODE coefficient, transition intensity, or Bellman weight. Those quantities remain provisional until longitudinal calibration.

# Literature Sources

| source_id | citation | year | parameter_or_anchor | reported_anchor_or_role | open_access_or_download_link |
| --- | --- | --- | --- | --- | --- |
| 1 | Isselbacher EM et al. 2022 ACC/AHA Guideline for the Diagnosis and Management of Aortic Disease. Circulation/JACC. | 2022 | Entry tear; false lumen; aortic diameter; serial enlargement | High-risk imaging features include entry tear >10 mm, false lumen >20-22 mm, maximum aortic diameter >40 mm, and >5 mm increase between serial scans. | https://pmc.ncbi.nlm.nih.gov/articles/PMC9876736/ |
| 2 | Mazzolai L et al. 2024 ESC Guidelines for the management of peripheral arterial and aortic diseases. Eur Heart J. | 2024 | TEVAR timing; high-risk morphology | Intervention considered early within 90 days; subacute treatment may be safer; entry tear >10 mm, initial aortic diameter >40 mm and false lumen >20 mm discussed as adverse features. | https://academic.oup.com/eurheartj/article/45/36/3538/7738955 |
| 3 | Brunkwall J et al. Endovascular repair of acute uncomplicated aortic type B dissection promotes aortic remodelling: ADSORB trial. Eur J Vasc Endovasc Surg. | 2014 | False lumen remodeling after TEVAR | TEVAR promoted false-lumen thrombosis and reduction in false-lumen size at 1 year versus medical therapy. | https://pubmed.ncbi.nlm.nih.gov/24962744/ |
| 4 | Nienaber CA et al. Endovascular repair of type B aortic dissection: long-term results of the randomized INSTEAD-XL trial. Circ Cardiovasc Interv. | 2013 | Long-term TEVAR benefit and disease progression | Five-year aorta-specific mortality and progression were lower in the TEVAR arm; benefit emerged on landmark follow-up. | https://pubmed.ncbi.nlm.nih.gov/23922146/ |
| 5 | Yang Y et al. Acute or Subacute, the Optimal Timing for Uncomplicated Type B Aortic Dissection: systematic review and meta-analysis. Front Surg. | 2022 | Acute versus subacute TEVAR timing | Three studies, 1,193 patients; phase definitions and pooled comparison support explicit timing analysis. | https://pmc.ncbi.nlm.nih.gov/articles/PMC9110682/ |
| 6 | Naito N, Takagi H. Optimal Timing of Pre-emptive TEVAR in Uncomplicated Type B Aortic Dissection: network meta-analysis. J Endovasc Ther. | 2024 | Pre-emptive TEVAR timing | Subacute phase (14-90 days) emerged as a favorable timing interval in the network synthesis. | https://journals.sagepub.com/doi/10.1177/15266028241245282 |
| 7 | Need for and update on clinical trials for uncomplicated type B aortic dissection. JVS Vascular Insights. | 2024 | Evidence uncertainty; ongoing trials | Summarizes INSTEAD, INSTEAD-XL and ADSORB and emphasizes persistent uncertainty about prophylactic TEVAR. | https://pmc.ncbi.nlm.nih.gov/articles/PMC11672679/ |
| 8 | Tolenaar JL et al. Predicting aortic enlargement in type B aortic dissection. Ann Cardiothorac Surg. | 2014 | Entry tear; false lumen; aortic enlargement | Large entry tear >10 mm, false-lumen diameter around 22 mm, patency and serial enlargement are reviewed as adverse morphologic features. | https://pmc.ncbi.nlm.nih.gov/articles/PMC4052419/ |
| 9 | Uncomplicated Acute Type B Aortic Dissection: Selection Guidelines for TEVAR. Ann Cardiothorac Surg/Review. | 2017 | High-risk CTA features | Summarizes aortic diameter >=40 mm, false lumen >=22 mm, patent/partially thrombosed false lumen and entry tear >=10 mm as adverse imaging features. | https://pmc.ncbi.nlm.nih.gov/articles/PMC5684168/ |
| 10 | Evangelista A et al. Long-term outcome of aortic dissection with patent false lumen: predictive role of entry tear size and location. Circulation. | 2012 | Entry tear diameter | Large entry tear (>=10 mm) associated with more dissection-related complications and greater growth in the reported cohort. | https://pubmed.ncbi.nlm.nih.gov/22615344/ |
| 11 | Blount KJ, Hagspiel KD. Aortic diameter, true lumen, and false lumen growth rates in chronic type B aortic dissection. AJR. | 2009 | False-lumen and total aortic growth | Mean maximum aortic diameter growth 7.1 mm/y and false-lumen diameter growth 6.5 mm/y; faster growth occurred in patients later repaired or deceased. | https://pubmed.ncbi.nlm.nih.gov/19380527/ |
| 12 | Sueyoshi E et al. Growth rate of affected aorta in patients with type B partially closed aortic dissection. Ann Thorac Surg. | 2009 | Growth rate and false-lumen status | Serial CT study evaluating how false-lumen closure status relates to aortic growth. | https://pubmed.ncbi.nlm.nih.gov/19766816/ |
| 13 | Noninvasive Morphologic and Hemodynamic Evaluation of Type B Aortic Dissection: State of the Art and Future Perspectives. | 2021 | CTA morphologic measurements | Describes standardized maximum aortic diameter, true/false-lumen measures and multiple high-risk morphologic markers. | https://pmc.ncbi.nlm.nih.gov/articles/PMC8250421/ |
| 14 | Changing Management of Type B Aortic Dissections. | 2023 | Prophylactic TEVAR; residual aneurysmal degeneration | Reviews contemporary TEVAR strategy and persistent late aneurysmal expansion despite proximal repair. | https://pmc.ncbi.nlm.nih.gov/articles/PMC10000326/ |
| 15 | Zimmermann J et al. Hemodynamic Effects of Entry and Exit Tear Size in Aortic Dissection Evaluated with In Vitro MRI and Fluid-Structure Interaction Simulation. | 2023 | Entry tear size and false-lumen hemodynamics | Changing tear size altered false-lumen flow and pressure in in-vitro and FSI experiments. | https://arxiv.org/abs/2303.13639 |
| 16 | Mayer C et al. Type B Aortic Dissection CTA Collection with True and False Lumen Expert Annotations. Scientific Data. | 2024 | CTA true/false-lumen segmentation | Forty expert-annotated TBAD CTA cases with freely downloadable imaging/segmentations. | https://www.nature.com/articles/s41597-024-03284-2 |
| 17 | Mayer C et al. Aortic Dissection Dataset and Segmentations. Figshare. | 2024 | Downloadable CTA and segmentation files | Open CC BY 4.0 dataset associated with the Scientific Data descriptor. | https://figshare.com/articles/dataset/Aortic_Dissection_Dataset_and_Segmentations/22269091 |
| 18 | Optimal Timing of Thoracic Endovascular Aortic Repair for Late Remodeling in Acute Type B Dissection. | 2023 | Timing and remodeling | Compares acute, subacute and chronic TEVAR timing with longitudinal true-lumen remodeling. | https://pmc.ncbi.nlm.nih.gov/articles/PMC11708470/ |

# Model Parameters

| parameter_name | symbol_or_code | reference | unit | range_low | range_high | status | provenance_note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Entry tear high-risk anchor | E_hr | 10.0 | mm | nan | Literature-derived | 2022 ACC/AHA; 2024 ESC | nan |
| False lumen high-risk anchor | F_hr | 21.0 | mm | 20.0 | 22 | Literature-derived midpoint | 2022 ACC/AHA |
| Aortic diameter high-risk anchor | D_hr | 40.0 | mm | nan | nan | Literature-derived | 2022 ACC/AHA; 2024 ESC |
| Serial enlargement anchor | DeltaD_hr | 5.0 | mm | nan | nan | Literature-derived | 2022 ACC/AHA |
| Acute phase boundary | T_acute | 14.0 | day | nan | nan | Literature-derived phase definition | 2024 ESC; timing meta-analysis |
| Subacute phase end | T_subacute | 90.0 | day | nan | nan | Literature-derived phase definition | 2024 ESC; timing meta-analysis |
| False-lumen tear growth coupling | k_fl_tear | 0.042 | day^-1 | 0.025 | 0.06 | Provisional structural coefficient | Sensitivity range only |
| False-lumen momentum coupling | k_fl_momentum | 0.02 | day^-1 | 0.01 | 0.032 | Provisional structural coefficient | Sensitivity range only |
| Aortic enlargement from FL burden | k_da_fl | 0.02 | day^-1 | 0.01 | 0.032 | Provisional structural coefficient | Sensitivity range only |
| Aortic enlargement from growth momentum | k_da_momentum | 0.016 | day^-1 | 0.008 | 0.026 | Provisional structural coefficient | Sensitivity range only |
| Tear-driven growth momentum | k_mom_tear | 0.055 | day^-1 | 0.03 | 0.08 | Provisional structural coefficient | Sensitivity range only |
| FL-driven growth momentum | k_mom_fl | 0.045 | day^-1 | 0.025 | 0.07 | Provisional structural coefficient | Sensitivity range only |
| Aorta-driven growth momentum | k_mom_aorta | 0.04 | day^-1 | 0.02 | 0.065 | Provisional structural coefficient | Sensitivity range only |
| Tear-driven morphologic burden | k_burden_tear | 0.06 | day^-1 | 0.035 | 0.09 | Provisional structural coefficient | Sensitivity range only |
| FL-driven morphologic burden | k_burden_fl | 0.07 | day^-1 | 0.04 | 0.1 | Provisional structural coefficient | Sensitivity range only |
| Growth-driven morphologic burden | k_burden_growth | 0.085 | day^-1 | 0.05 | 0.12 | Provisional structural coefficient | Sensitivity range only |
| Stability reserve recovery | k_reserve_recover | 0.03 | day^-1 | 0.018 | 0.05 | Provisional structural coefficient | Sensitivity range only |
| Burden-related reserve depletion | k_reserve_burden | 0.06 | day^-1 | 0.035 | 0.09 | Provisional structural coefficient | Sensitivity range only |
| Growth-related reserve depletion | k_reserve_growth | 0.045 | day^-1 | 0.025 | 0.07 | Provisional structural coefficient | Sensitivity range only |
| Baseline waiting intensity | hwait0 | 0.0005 | model intensity/day | 0.00025 | 0.001 | Provisional decision coefficient | Not a mortality hazard |
| Baseline procedure intensity | hproc0 | 0.012 | model intensity | 0.007 | 0.02 | Provisional decision coefficient | Not a perioperative event rate |
| Acute procedural penalty | acute_penalty | 20.0 | dimensionless | 10.0 | 30.0 | Provisional decision coefficient | Calibrates early-phase penalty shape |
| Chronic procedural penalty | chronic_penalty | 0.45 | dimensionless | 0.2 | 0.75 | Provisional decision coefficient | Calibrates late-phase penalty shape |

# CSV Provenance

| File | How the numbers are generated |
| --- | --- |
| Reference_Trajectory.csv | Generated by adaptive RK45 from the untreated five-state system; contains 120-day morphology, burden, reserve, Markov probabilities, and theoretical hazards. |
| Reference_Optimal_Stopping_Path.csv | Daily Bellman recursion applied to the reference trajectory; contains operate-now cost, wait cost, value, and action. |
| Stopping_Boundary_Continuation.csv | Entry tear 6-16 mm in 0.5-mm increments crossed with four initial false-lumen sizes; output is model-derived stopping day. |
| EntryTear_FalseLumen_Stopping_Surface.csv | 609 grid points spanning entry tear 6-16 mm and false lumen 16-30 mm; output is stopping day. |
| Scenario_Results.csv | Eight predefined morphology/reserve scenarios; all values are model-generated. |
| LHS_Parameter_Samples.csv | 500 Latin-hypercube structural/decision parameter sets plus resulting stopping day. |
| Global_Sensitivity_PRCC.csv | PRCC between each sampled parameter and stopping day after rank residualization. |
| Local_Elasticity.csv | +/-1% parameter perturbation around the reference solution. |
| Stochastic_Perturbation_Results.csv | 500 computational input perturbations of entry tear, false lumen, aortic diameter, growth momentum, and reserve. |
| Synthetic_Model_Comparison_AIC.csv | Internal recovery comparison of nested logistic specifications fitted to model-generated labels; not clinical validation. |
| Post_TEVAR_Equilibrium.csv / Post_TEVAR_Eigenvalues.csv | Numerical root of the post-TEVAR subsystem and Jacobian eigenvalues. |
| Numerical_Robustness.csv | RK45/DOP853 verification across output steps 0.10-1.00 day. |